PRODUCT SPECIFICATION (CSI-FORMAT)

Specifier Note: The specification is in accordance with the Construction Specifications Institute (CSI) format. Please review the specification to meet ll specific project requirements and the project evaluation provided by Presto. If an evaluation was not created, please reach out to Bryan Wedin at bryan.wedin@prestogeo.com. Select the appropriate sections shaded in yellow and delete the associated specifier note.

SECTION 321243

POROUS FLEXIBLE PAVING

PART 1	GENERAL

  - SUMMARY

Specifier Note: Select the appropriate porous pavement system and delete the other.

- Work Included: This Section includes providing all material, labor, tools, and equipment for installation of the [GEOBLOCK®] [GEOBLOCK5150®] porous pavement system as shown in the Contract Documents and as specified in this Section.

- The porous pavement system shall be used for vegetated porous pavement.

  - RELATED SECTIONS

- The applicable provisions of the General Conditions shall govern the work in this Section.

- Section 013300 – Submittal Procedures

- Section 311000 – Site Clearing

- Section 312000 – Earth Moving.

- Section 312500 – Erosion and Sedimentation Control.

- Section 313219 – Geosynthetic Stabilization and Separation Layer.

- Section 323000 – Site Improvements.

- Section 329200 –Turfs and Grasses.

- Section 334600 – Subdrainage.

1.3	REFERENCES

- CBR – California Bearing Ratio Method.

- ASTM D1693 – Standard Test Method for Environmental Stress-Cracking of Ethylene Plastics.

- ASTM F 1951-08 Standard Specification for Determination of Accessibility of Surface Systems Under and Around Playground Equipment.

- American Association of State Highway and Transportation Officials (AASHTO)

- American Society of Landscape Architects (ASLA)

- U.S. Green Building Council, (USGBC)

1.5	SUBMITTALS

- Submit manufacturer's shop drawings in accordance with Section 013000, Submittals including manufacturer’s product data, calculations, drawings and field representative qualifications.

- Manufacturer Calculations. Provide a complete set of project calculations to determine the porous pavement requirements including:

  - The calculations shall be submitted at the time of bid. The calculations shall be included in an evaluation containing a written summary, plan view including laying pattern, cross section, calculation and research and testing documentation.

  - The calculation method shall be based on computer software developed through research and testing at an accredited university or research facility based specifically on the product being submitted.

  - The porous pavement calculation shall be based on vehicle type, axle loading, tire pressure, sub grade strength, ground slope, average run-off coefficient (n-value) and water storage requirements.

- LEED® Documentation: Provide a list of proposed materials with recycled content including recycled content and pre-consumer recycled content.

- Product data and certification letter indicating percentages by weight of post-consumer and pre-consumer recycled content.

- Certificates:

  - Product certificates signed by the manufacturer certifying material compliance of polyethylene used to make porous pavement units.

  - ISO Certificate certifying manufacturer’s quality management system is currently registered to ISO 9001:2015 quality standards.

- Submit qualifications of Manufacturer's field representative certifying field representative experience in the installation of the specified products.

- No material will be considered as an equivalent to the porous pavement unit specified herein unless it meets all requirements of this specification, without exception. Manufacturers seeking to supply equivalent material must submit records, data, independent test results, samples, certifications, and documentation deemed necessary by the Engineer to prove equivalency. The Engineer shall approve or disapprove other Manufacturers materials in accordance with the General Conditions after submission and review of provided information. All substitute materials submitted shall be subject to independent lab testing at the contractor’s expense.

  - QUALITY ASSURANCE AND CONTROL

- The GEOBLOCK porous pavement unit shall be provided from a single Manufacturer for the entire project.

- The Manufacturer's Quality management system shall be certified and in accordance with ISO 9001:2015. Any substitute materials submitted shall provide a certification that the manufacturing process is part of an ISO program, and a certification is required specifically stating that their testing facility is certified and in accordance with ISO. An ISO certification for the substitute material will not be acceptable unless it is proven it pertains specifically to the porous pavement manufacturing operations.

- The Manufacturer shall provide certification of compliance to all applicable testing procedures and related specifications upon the customer's written request. Request for certification shall be submitted no later than the date of order placement. The Manufacturer shall have a minimum of 20 years’ experience producing porous pavement systems.

- Pre-Installation Meeting: Prior to installation of any materials, conduct a pre-installation meeting to discuss the scope of work and review installation requirements. The pre-installation meeting shall be attended by all parties involved in the installation of the porous pavement system.

- Manufacturer shall provide a qualified field representative on site at the start of construction to ensure the system is installed in accordance with the Contract Documents.

- Manufacturer’s field representative shall have a minimum of 5 years installation experience with the specified products in the specified application.

- Manufacturer of any substitute materials to be used shall certify that a representative can meet the above criteria and will be on site for initial construction start up. Manufacturers other than the specified GEOBLOCK porous pavement system will be required to provide proof the representative meets these qualifications.

  - DELIVERY, STORAGE, AND HANDLING

- Deliver materials to site in Manufacturer's original, unopened containers and packaging, with labels clearly identifying product name and Manufacturer.

- The materials shall be stored in accordance with Manufacturer's instructions. The materials shall be protected from damage and out of direct sunlight.

- The materials shall be delivered, unloaded and installed in a manner to prevent damage.

  - WARRANTY

- The Manufacturer warrants each porous pavement unit that it ships to be free from defects in materials and workmanship at the time of manufacture. The Manufacturer’s exclusive liability under this warranty or otherwise will be to furnish without charge to the original f.o.b. point a replacement for any section which proves to be defective under normal use and service during the 10-year period which begins on the date of shipment. The Manufacturer reserves the right to inspect any allegedly defective section in order to verify the defect and ascertain its cause.

- This warranty shall not cover defects attributable to causes or occurrences beyond the Manufacturer’s control and unrelated to the manufacturing process, including, but not limited to, abuse, misuse, mishandling, neglect, improper storage, improper installation, improper alteration or improper application.

- In no event shall the Manufacturer be liable for any special, indirect, incidental, or consequential damages for the breach of any express or implied warranty or for any other reason, including negligence, in connection with the GEOBLOCK porous pavement system.

PART 2	PRODUCTS

2.1	ACCEPTABLE MANUFACTURER

- Presto Geosystems, PO Box 2399, Appleton, Wisconsin 54912-2399.

Phone: (920) 738-1328.  Email info@prestogeo.com.  Website www.prestogeo.com.

2.2	[GEOBLOCK®] [GEOBLOCK5150®] POROUS PAVEMENT SYSTEM COMPONENTS

- Manufacturing Certification

  - The Manufacturer shall have earned a certificate of registration, which demonstrates that its quality-management system for its porous pavement system is currently registered to the ISO 9001:2015 and CE quality standards.

- Base Materials

- The material shall be up to 100 percent recycled polyethylene.

- The color shall range from dark shades of gray to black.

- The color shall be uniform throughout all units in pallet.

- The units shall be chemical resistance.

- The Carbon Black content shall be 1.5 to 2 percent by weight, through addition of a carrier with ASTM D1693.

- Performance Properties:

- The empty unit minimum crush strength at 70 degrees F (21 degrees C) shall be 420 psi (2,900 kPa).

- The sand-filled unit minimum crush strength at 70 degrees F (21 degrees C) shall be 5,980 psi (41,285 kPa).

- The flexural modulus at 70 degrees F (21 degrees C) shall be 35,000 psi (240,000 kPa).

- The unit minimum deflection without breakage when units supported at 40 inches (0.50 m) centers at 70 degrees F (21 degrees C) shall be 1.0 inches (25 mm).

- The wall compressive strength (simulated tire area loaded) shall be 420 psi (2,900 kPa) when tested using circular plate, 6.5 inches (165 mm) in diameter, and loaded to failure.

- The wall compressive strength (full GEOBLOCK® porous pavement unit loaded) shall be 138,240 pound-force (615 kN) when tested using full single unit loaded to failure via flat plate.

- The equivalent elastic stiffness shall be 48,000 pound-square inches (140 N-m2) when tested using simply supported GEOBLOCK® porous pavement unit loaded to 1 inch (25 mm) deflection.

- The joint shear strength shall be 20,000 pound-force (89.0 kN) when tested using direct shear of tabular connection using special apparatus.

- Dimensions

  - The width shall be 20 inches (0.5 meter).

  - The length shall be 40 inches (1 meter).

Specifier Note: Select the appropriate porous pavement system and delete the other.

  - The depth shall be [1.2 inches (30 mm) for GB] [2.0 inches (50 mm) for GB5150].

  - The area shall be 5.3 ft2 (0.5 m2).

  - The weight shall be [4.7 lbs (2.1 kg) for GB] [9.0 lbs (4.0 kg) for GB5150].

  - The number of cells per unit shall be [128 for GB] [72 for GB5150].

  - The cell size shall be [2.25 inches x 2.25 inches (57 mm x 57 mm) for GB] [3.1 inches x 3.2 inches (79 mm x 81 mm) for GB5150].

  - The top open area shall be [88% for GB] [87% for GB5150].

  - The bottom open area shall be [56% for GB] [41% for GB5150].

  - The units shall have interlocking offset tabs on the edges for connection to adjacent units.

PART 3	EXECUTION

3.1	EXAMINATION

- Verify site conditions are as indicated on the drawings. Notify the Engineer if site conditions are not acceptable. Do not begin preparation or installation until unacceptable conditions have been corrected.

- Verify layout of structure is as indicated on the drawings. Notify the Engineer if layout of structure is not acceptable. Do not begin preparation or installation until unacceptable conditions have been corrected.

3.2	PREPARATION

- Prepare subgrade and install porous pavement system in accordance with the Contract Documents.

Specifier Note: Revise the installation assistance as required including the days on site and number of trips.

- On-site time for installation assistance by the Manufacturer’s field representative shall be a minimum of 1 day with one trip. All travel and expense costs for Manufacturer’s field representative installation assistance shall be included in the base bid price.

- Subgrade Preparation

- Excavate and shape foundation soils in accordance with the Contract Documents.

- Ensure foundation soil meets minimum strength requirements through proof rolling or other conventional method and is approved by the Engineer. If unacceptable foundation soils are encountered, excavate and replace with suitable quality material as directed by the Engineer.

Specifier Note: Delete this section if a geotextile separation layer is not required.

- Install geotextile separation layer in accordance with Contract Documents and manufacturer’s recommendations including overlaps based on sub grade CBR.

- Base Preparation:

Specifier Notes: The strength of the porous pavement system is determined, in part, by the support provided by the topsoil/aggregate engineered base. Consult Presto Geosystems GEOBLOCK® Design and Construction Overview for engineered base details and thickness recommendations. Proper topsoil/aggregate engineered base materials will promote vegetative growth and provide required structural support. If the topsoil is not present within the engineered base, grass growth may be impaired. Vegetated surfaces should be designed for infrequent or occasional traffic. Please refer to the project evaluation prepared by Presto for base depth based on loading requirements.

  - Install base and compact in accordance with Contract Documents

  - If required, place a geotextile separation layer on the prepared sub grade in accordance with the Contract Documents and manufacturer recommendations.

  - If required, install the specified sub-drain in accordance with the Contract Documents.

  - The engineered base shall be an engineered infill consisting of topsoil and aggregate mixture for vegetated surfaces.

- Engineered infill shall consist of 1/3 pulverized topsoil and 2/3 aggregate mixture. The mixture shall promote vegetation growth and provide structural support.

- The aggregate portion shall have a particle range from 0.375 to 1.0 inches (9.5 to 25 mm) with a D50 of 0.5 inches (13 mm).

- Blend the topsoil and aggregate to produce a homogenous mixture.

- The percentage void space of the aggregate portion when compacted shall be at least 30%.

- Once placed, the mixture shall be compacted in accordance with Contract Documents.

  - Constrain the edges of the base appropriately to prevent movement.

3.3	INSTALLATION

- Install and infill porous pavement units in accordance with the Contract Documents and manufacturer’s installation guidelines.

  - If applicable, ensure that all adjacent hard-surfaced paving work is completed before installing the porous pavement system.

  - THE UNITS ARE CAPABLE OF BEARING LOAD IMMEDIATELY after placement, once fully installed and the base depth is appropriate to support the loading. Porous pavement units can be driven on with no infill necessary. No barriers are required to prevent passenger cars and trucks or construction equipment from driving on the porous pavement units during installation.

- Installing Units

  - Place units with the square hole to the ground.

Specifier Notes: Edit the installation requirements for the laying pattern as indicated on the drawings.

  - Lay units in the following pattern:

  - Install unit pattern as indicated in the Contract Documents.

  - Offset pattern for pedestrian access lane applications.

  - Standard running bond bricklayer pattern for pedestrian access lane or one-direction vehicular driveway applications.

  - Herringbone pattern for large area with multi-directional traffic flow.

  - Fulti-directionaly  is appropriate to support the loading movement. the base bid price.ts for Manufacturer'or bricklayer pattern, place units with long direction of unit perpendicular to direction of traffic.

  - Develop staggered herringbone pattern by using half units made by field cutting a full unit.

  - Field cut units to custom fit contours and around obstructions. Edge restraints are required to create a closed “cell” that can be infilled. Alternatively, offset the GEOBLOCK units such that the coverage approximates the corner or curve feature. Edge restraints are required.

  - If applicable, place first row of porous pavement units against a single stationary edge. If the units are placed between two perpendicular stationary edges, allow for potential thermal expansion of the units by keeping the units away from the stationary edge.

  - Slide units together so interlocking tab joint is fully engaged. Units shall not protrude above desired surface elevation.

  - Prevent units from shifting during installation with placement of one of the following:

  - Temporary wood stakes or permanent metal stakes through holes in the units.

  - Thread-forming tapping screws through perimeter interlocking tabs. Install 2 to 4 screws on the long side and 1 to 2 screws on the short side.

Specifier Notes: Anchoring may be required when placing the GEOBLOCK® porous pavement units on a slope (5-10% maximum). Stake length is generally 12 inches (305 mm) or longer depending on the slope, subgrade CBR and loading requirement. Edit the anchor length as required. Delete this section if anchoring is not required.

- Anchoring of GEOBLOCK Units:

  - Units shall be anchored per Manufacturer’s recommendations.

  - Units shall be anchored in-place after installation of all the units within the defined area.

  - Units shall be anchored with 0.5 inch (13 mm) #4 rebar or wood stakes to prevent movement of the units.

  - Anchor length shall be 12 inches (300 mm) or as specified by the Engineer.

  - Drive the anchors through the holes in the GEOBLOCK porous pavement units along the perimeter as required.

- Infilling Units

  - Infill units with pulverized topsoil immediately after units are installed in accordance with Contract Documents.

  - Spread topsoil infill uniformly over units to a level even with the top of the cell wall. Use spreading methods to prevent over-compaction of cell infill.

  - Overfilling the cells is not recommended since vehicular loading will cause undesirable compaction of the topsoil.

  - Broom or rotary sweep the infilled surface to remove the top portion of topsoil infill from the GEOBLOCK cells so it has a meniscus appearance. Final topsoil placement should be slightly below the level of the cell wall.

  - If final vegetation is sod, the units shall be under-filled by sod depth to allow room to seat or press sod into porous pavement units.

3.4	ABOVE GROUND, POST-INSTALLATION DELINEATION

A.	Delineate the porous pavement system above ground, after installation is complete, with one of the following methods:

  - Above-ground curbing

  - Shrubbery or vegetation

  - Perimeter lighting

  - Delineation markers

3.5	SEED AND GRASSING

    - Finish in accordance with Manufacturer’s instructions.

Specifier Notes: Choose Seed or Sod and delete the other choice. Specify sod for areas where immediate use is desired.

    - Seeding:

  - The seed mix shall be in accordance with the Contract Documents.

  - Follow good seeding, fertilizing, and watering procedures for turf establishment based on regional practices.

  - Seed shall conform with the requirements of the governing authority for seeding and restrictions on noxious weed seed.

    - Sod:

  - Sweep out topsoil from the units to allow room to seat the sod. Remove enough topsoil so that the crown of the sod is recessed slightly below the top of the cell after pressing the sod in place, and so the bottom of the sod is in contact with the topsoil.

  - Install sod free from netting materials. The sod shall consist of dense, well-rooted growth of permanent and desirable grasses, indigenous to the locality where it will be installed.

  - Press sod into partially emptied cells using a roller or other suitable equipment.

  - Follow recommended watering procedures to ensure healthy sod growth.

3.6	MAINTENANCE

- Maintain grass in accordance with the Contract Documents.

- Lawn Care: Normal turf care procedures should be followed, including de-thatching and aeration. Some equipment may slightly scar or cut the wall structure but will not affect overall structural integrity of the system.

- Snow Removal: Remove snow using one of the following basic procedures:

  - Keep a metal edged plow blade a minimum of 1.0 inch (25 mm) above the surface during plowing operations.

  - Use a plow blade with a flexible rubber edge or with skids on the lower outside corners so the plow blade does not come in contact with the units.

END OF SECTION